## MatLab-IPDS Overview
MatLab Data Integration
Information needed to communicate between MatLab and Java.
Test Case: 62-Node
1: Layout drawing
A layout drawing with the nodes listed.
2: Simulatated sensor values
Describe the data points we'll get for each time slice
3: Information about each row in the MatLab sensor data array.
Provide basic information - the phase, the type of node (is this node a substation, feeder, lateral, neighborhood transformer, or home), and the row #.
4: Calculated actuator values
Actions determined by the Java side.
5: Information about each row in the MatLab actuator data array.
So far, the only information the java side might send back is the reactive power setting for the smart inverters (on the home PV systems).

## 1-Layout
1) Layout: 62-Node Case

## 2-SensorValues
DataTypeID | DataTypeAbbrev | DataTypeDesc | Phase | LoadOrGeneration | Measurement | Units
1 | PA | Column 1 - Phase A - P (load) | A | Load | P
2 | QA | Column 2 - Phase A - Q (load) | A | Load | Q
3 | PB | Column 3 - Phase B - P (load) | B | Load | P
4 | QB | Column 4 - Phase B - Q (load) | B | Load | Q
5 | PC | Column 5 - Phase C - P (load) | C | Load | P
6 | QC | Column 6 - Phase C - Q (load) | C | Load | Q
7 | PG | Column 7 - P (generation) | NULL | Generation | P
8 | QG | Column 8 - Q (generation) | NULL | Generation | Q
9 | VA | Column 9 - Voltage Phase A | A | Load | Voltage
10 | VB | Column 10 - Voltage Phase B | B | Load | Voltage
11 | VC | Column 11 - Voltage Phase C | C | Load | Voltage
2) Sensor Values: 62-Node Case
We currently get 11 data points for each timeslice for each node: real & reactive load by phase, real & reactive generation, and the voltages by phase.
DataTypes are for simulated time-based data values.

## 3-MatLabSensorArray
Phase | Type Abbrev | Row Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
ABC | S | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | SM-1 = 0
ABC | F | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | SM-2 = 1
ABC | F | 3 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | SM-3 = 2
ABC | F | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | SM-4 = 3
ABC | F | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | SM-5 = 4
ABC | F | 6 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | SM-6 = 5
ABC | F | 7 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | SM-7 = 6
ABC | F | 8 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | SM-8 = 7
ABC | F | 9 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | SM-9 = 8
ABC | F | 10 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | SM-10 = 9
ABC | F | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99251 | SM-11 = 10
ABC | F | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | SM-12 = 11
ABC | F | 13 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | SM-13 = 12
ABC | F | 14 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99158 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99158 | SM-14 = 13
ABC | F | 15 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | SM-15 = 14
ABC | F | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | SM-16 = 15
ABC | F | 17 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | SM-17 = 16
ABC | F | 18 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | SM-18 = 17
ABC | F | 19 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | SM-19 = 18
ABC | F | 20 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | SM-20 = 19
ABC | F | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | SM-21 = 20
ABC | F | 22 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | SM-22 = 21
ABC | F | 23 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | SM-23 = 22
ABC | F | 24 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99251 | SM-24 = 23
ABC | F | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99251 | SM-25 = 24
ABC | F | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | SM-26 = 25
ABC | F | 27 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | SM-27 = 26
ABC | F | 28 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | SM-28 = 27
ABC | F | 29 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | SM-29 = 28
ABC | F | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | SM-30 = 29
ABC | F | 31 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | SM-31 = 30
ABC | F | 32 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | SM-32 = 31
ABC | F | 33 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | SM-33 = 32
ABC | F | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | SM-34 = 33
ABC | F | 35 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | SM-35 = 34
ABC | F | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | SM-36 = 35
ABC | F | 37 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | SM-37 = 36
ABC | F | 38 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | SM-38 = 37
A | L | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | SM-39 = 38
A | L | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | SM-40 = 39
A | L | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | SM-41 = 40
A | L | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | SM-42 = 41
A | N | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | SM-43 = 42
A | H | 44 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99382 | 0.99568 | 0.99377 | SM-44 = 43
A | H | 45 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | SM-45 = 44
A | H | 46 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | SM-46 = 45
A | H | 47 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | SM-47 = 46
A | N | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | SM-48 = 47
A | H | 49 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.9937 | 0.99568 | 0.99373 | SM-49 = 48
A | H | 50 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | SM-50 = 49
A | H | 51 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | SM-51 = 50
A | H | 52 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | SM-52 = 51
A | N | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | SM-53 = 52
A | H | 54 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99353 | 0.99568 | 0.99365 | SM-54 = 53
A | H | 55 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | SM-55 = 54
A | H | 56 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | SM-56 = 55
A | H | 57 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | SM-57 = 56
A | N | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | SM-58 = 57
A | H | 59 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99343 | 0.99568 | 0.99362 | SM-59 = 58
A | H | 60 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | SM-60 = 59
A | H | 61 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | SM-61 = 60
A | H | 62 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | SM-62 = 61
Please note that PV panels are installed at nodes 44,49,54,59
Please note that the length of data 79200 . The length of sheets 1 to 7 is 10000. The length of sheet 8 is 9200
PV homes are highlighted - all are only Phase A.
Columns 7 and 8 are the generation real power and generation reactive power - the trends we want to watch.
3) MatLab Sensor Array: 62-Node Case
11 values per node each timeslice.

## 4-ActuatorValues
DataTypeID | DataTypeAbbrev | DataTypeDesc | Phase | LoadOrGeneration | Measurement | Units
1 | QG | Column 8 - Q (generation) | NULL | Generation | Q
4) Actuator Values: 62-Node Case
Only one control point gets returned (so far) - the new reactive power setting for the smart inverter on the home PV system.
DataTypes are for simulated time-based data values.

## 5-MatLabActuatorValues
Row Number | Timeslice 1 | Timeslice 2 | 5) MatLab Actuator Array: 62-Node Case
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0
19 | 0 | 0
20 | 0 | 0
21 | 0 | 0
22 | 0 | 0
23 | 0 | 0
24 | 0 | 0
25 | 0 | 0
26 | 0 | 0
27 | 0 | 0
28 | 0 | 0
29 | 0 | 0
30 | 0 | 0
31 | 0 | 0
32 | 0 | 0
33 | 0 | 0
34 | 0 | 0
35 | 0 | 0
36 | 0 | 0
37 | 0 | 0
38 | 0 | 0
39 | 0 | 0
40 | 0 | 0
41 | 0 | 0
42 | 0 | 0
43 | 0 | 0
44 | 0.4492 | 0.45008
45 | 0 | 0
46 | 0 | 0
47 | 0 | 0
48 | 0 | 0
49 | 0.4492 | 0.45008
50 | 0 | 0
51 | 0 | 0
52 | 0 | 0
53 | 0 | 0
54 | 0.4492 | 0.45008
55 | 0 | 0
56 | 0 | 0
57 | 0 | 0
58 | 0 | 0
59 | 0.4492 | 0.45008
60 | 0 | 0
61 | 0 | 0
62 | 0 | 0

## ConfigBuilderInput
Phase | Type Abbrev | Row Number | OrgMasterPersona | OrgAbbrev | MainAgent | ForecasterAgent | HostAbbrev | OrgWorkerPersona1 | OrgWorkerPersona2 | OrgWorkerPersona3 | OrgWorkerPersona4 | echoD | CalcMaster
ABC | S | 1 | S1 | S1 | S1 | S1_F | S1 | 2 |  |  |  | S1
ABC | F | 2 | F2 | F2 | F2 | F2_F | F2 | 3 |  |  |  | F2 | S1
ABC | F | 3 | F3 | F3 | F3 | F3_F | F3 | 4 |  |  |  | F3 | F2
ABC | F | 4 | F4 | F4 | F4 | F4_F | F4 | 26 | 5 | 29 |  | F4 | F3
ABC | F | 5 | F5 | F5 | F5 | F5_F | F5 | 6 | 10 |  |  | F5 | F4
ABC | F | 6 | F6 | F6 | F6 | F6_F | F6 | 7 |  |  |  | F6 | F5
ABC | F | 7 | F7 | F7 | F7 | F7_F | F7 | 8 | 9 |  |  | F7 | F6
ABC | F | 8 | F8 | F8 | F8 | F8_F | F8 |  |  |  |  | F8 | F7
ABC | F | 9 | F9 | F9 | F9 | F9_F | F9 |  |  |  |  | F9 | F7
ABC | F | 10 | F10 | F10 | F10 | F10_F | F10 | 11 |  |  |  | F10 | F5
ABC | F | 11 | F11 | F11 | F11 | F11_F | F11 | 12 | 25 | 24 |  | F11 | F10
ABC | F | 12 | F12 | F12 | F12 | F12_F | F12 | 13 | 14 |  |  | F12 | F11
ABC | F | 13 | F13 | F13 | F13 | F13_F | F13 |  |  |  |  | F13 | F12
ABC | F | 14 | F14 | F14 | F14 | F14_F | F14 | 15 |  |  |  | F14 | F12
ABC | F | 15 | F15 | F15 | F15 | F15_F | F15 | 16 | 19 |  |  | F15 | F14
ABC | F | 16 | F16 | F16 | F16 | F16_F | F16 | 17 | 18 |  |  | F16 | F15
ABC | F | 17 | F17 | F17 | F17 | F17_F | F17 |  |  |  |  | F17 | F16
ABC | F | 18 | F18 | F18 | F18 | F18_F | F18 |  |  |  |  | F18 | F16
ABC | F | 19 | F19 | F19 | F19 | F19_F | F19 | 20 |  |  |  | F19 | F15
ABC | F | 20 | F20 | F20 | F20 | F20_F | F20 | 21 |  |  |  | F20 | F19
ABC | F | 21 | F21 | F21 | F21 | F21_F | F21 | 22 | 23 |  |  | F21 | F20
ABC | F | 22 | F22 | F22 | F22 | F22_F | F22 |  |  |  |  | F22 | F21
ABC | F | 23 | F23 | F23 | F23 | F23_F | F23 |  |  |  |  | F23 | F21
ABC | F | 24 | F24 | F24 | F24 | F24_F | F24 |  |  |  |  | F24 | F11
ABC | F | 25 | F25 | F25 | F25 | F25_F | F25 |  |  |  |  | F25 | F11
ABC | F | 26 | F26 | F26 | F26 | F26_F | F26 | 27 | 28 |  |  | F26 | F4
ABC | F | 27 | F27 | F27 | F27 | F27_F | F27 |  |  |  |  | F27 | F26
ABC | F | 28 | F28 | F28 | F28 | F28_F | F28 |  |  |  |  | F28 | F26
ABC | F | 29 | F29 | F29 | F29 | F29_F | F29 | 30 |  |  |  | F29 | F4
ABC | F | 30 | F30 | F30 | F30 | F30_F | F30 | 31 | 33 |  |  | F30 | F29
ABC | F | 31 | F31 | F31 | F31 | F31_F | F31 | 32 |  |  |  | F31 | F30
ABC | F | 32 | F32 | F32 | F32 | F32_F | F32 | 39 | 40 | 41 | 42 | F32 | F31
ABC | F | 33 | F33 | F33 | F33 | F33_F | F33 | 34 | 36 |  |  | F33 | F30
ABC | F | 34 | F34 | F34 | F34 | F34_F | F34 | 35 |  |  |  | F34 | F33
ABC | F | 35 | F35 | F35 | F35 | F35_F | F35 |  |  |  |  | F35 | F34
ABC | F | 36 | F36 | F36 | F36 | F36_F | F36 | 37 | 38 |  |  | F36 | F33
ABC | F | 37 | F37 | F37 | F37 | F37_F | F37 |  |  |  |  | F37 | F36
ABC | F | 38 | F38 | F38 | F38 | F38_F | F38 |  |  |  |  | F38 | F36
A | L | 39 | L39 | L39 | L39 | L39_F | L39 | 43 |  |  |  | L39 | F32
A | L | 40 | L40 | L40 | L40 | L40_F | L40 | 48 |  |  |  | L40 | F32
A | L | 41 | L41 | L41 | L41 | L41_F | L41 | 53 |  |  |  | L41 | F32
A | L | 42 | L42 | L42 | L42 | L42_F | L42 | 58 |  |  |  | L42 | F32
A | N | 43 | N43 | N43 | N43 | N43_F | N43 | 44 | 45 | 46 | 47 | N43 | L39
A | H | 44 |  |  | H44 | H44_F | H44 | [5 empty] | N43
A | H | 45 |  |  | H45 | H45_F | H45 | [5 empty] | N43
A | H | 46 |  |  | H46 | H46_F | H46 | [5 empty] | N43
A | H | 47 |  |  | H47 | H47_F | H47 | [5 empty] | N43
A | N | 48 | N48 | N48 | N48 | N48_F | N48 | 49 | 50 | 51 | 52 | N48 | L40
A | H | 49 |  |  | H49 | H49_F | H49 | [5 empty] | N48
A | H | 50 |  |  | H50 | H50_F | H50 | [5 empty] | N48
A | H | 51 |  |  | H51 | H51_F | H51 | [5 empty] | N48
A | H | 52 |  |  | H52 | H52_F | H52 | [5 empty] | N48
A | N | 53 | N53 | N53 | N53 | N53_F | N53 | 54 | 55 | 56 | 57 | N53 | L41
A | H | 54 |  |  | H54 | H54_F | H54 | [5 empty] | N53
A | H | 55 |  |  | H55 | H55_F | H55 | [5 empty] | N53
A | H | 56 |  |  | H56 | H56_F | H56 | [5 empty] | N53
A | H | 57 |  |  | H57 | H57_F | H57 | [5 empty] | N53
A | N | 58 | N58 | N58 | N58 | N58_F | N58 | 59 | 60 | 61 | 62 | N58 | L42
A | H | 59 |  |  | H59 | H59_F | H59 | [5 empty] | N58
A | H | 60 |  |  | H60 | H60_F | H60 | [5 empty] | N58
A | H | 61 |  |  | H61 | H61_F | H61 | [5 empty] | N58
A | H | 62 |  |  | H62 | H62_F | H62 | [5 empty] | N58