## MatLab-IPDS Overview
MatLab Data Integration
Information needed to communicate between MatLab and Java.
Test Case: 62-Node
1: Layout drawing
A layout drawing with the nodes listed.
2: Simulatated sensor values
Describe the data points we'll get for each time slice
3: Information about each row in the MatLab sensor data array.
Provide basic information - the phase, the type of node (is this node a substation, feeder, lateral, neighborhood transformer, or home), and the row #.
4: Calculated actuator values
Actions determined by the Java side.
5: Information about each row in the MatLab actuator data array.
So far, the only information the java side might send back is the reactive power setting for the smart inverters (on the home PV systems).

## 1-Layout
1) Layout: 62-Node Case

## 2-SensorValues
DataTypeID | DataTypeAbbrev | DataTypeDesc | Phase | LoadOrGeneration | Measurement | Units
1 | PA | Phase A - P (load) | A | Load | P
2 | QA | Phase A - Q (load) | A | Load | Q
3 | PB | Phase B - P (load) | B | Load | P
4 | QB | Phase B - Q (load) | B | Load | Q
5 | PC | Phase C - P (load) | C | Load | P
6 | QC | Phase C - Q (load) | C | Load | Q
7 | PG | P (generation) | NULL | Generation | P | Real power - PV
8 | QG | Q (generation) | NULL | Generation | Q
9 | VA | Voltage Phase A | A | Load | Voltage
10 | VB | Voltage Phase B | B | Load | Voltage
11 | VC | Voltage Phase C | C | Load | Voltage
2) Sensor Values: 62-Node Case
We currently get 11 data points for each timeslice for each node: real & reactive load by phase, real & reactive generation, and the voltages by phase.
DataTypes are for simulated time-based data values.

## 3-MatLabSensorArray
Phase | Type Abbrev | Row Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
ABC | S | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
ABC | F | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
ABC | F | 3 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691
ABC | F | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529
ABC | F | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397
ABC | F | 6 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368
ABC | F | 7 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357
ABC | F | 8 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347
ABC | F | 9 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351
ABC | F | 10 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282
ABC | F | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99251
ABC | F | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202
ABC | F | 13 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192
ABC | F | 14 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99158 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99158
ABC | F | 15 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909
ABC | F | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909
ABC | F | 17 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909
ABC | F | 18 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909
ABC | F | 19 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024
ABC | F | 20 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993
ABC | F | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971
ABC | F | 22 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959
ABC | F | 23 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964
ABC | F | 24 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99251
ABC | F | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99251
ABC | F | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502
ABC | F | 27 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487
ABC | F | 28 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501
ABC | F | 29 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484
ABC | F | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944
ABC | F | 31 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432
ABC | F | 32 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386
ABC | F | 33 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403
ABC | F | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403
ABC | F | 35 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403
ABC | F | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389
ABC | F | 37 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387
ABC | F | 38 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389
A | L | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381
A | L | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373
A | L | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367
A | L | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362
A | N | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381
A | H | 44 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99382 | 0.99568 | 0.99377 | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99382 | 0.99568 | 0.99377
A | H | 45 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379
A | H | 46 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938
A | H | 47 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938
A | N | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373
A | H | 49 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.9937 | 0.99568 | 0.99374 | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.9937 | 0.99568 | 0.99373
A | H | 50 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373
A | H | 51 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372
A | H | 52 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371
A | N | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367
A | H | 54 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99353 | 0.99568 | 0.99365 | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99353 | 0.99568 | 0.99365
A | H | 55 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364
A | H | 56 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365
A | H | 57 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366
A | N | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362
A | H | 59 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.60011 | 0.45008 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59933 | 0.4493 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59893 | 0.44891 | 0.99343 | 0.99568 | 0.99362 | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59697 | 0.44694 | 0.99343 | 0.99568 | 0.99362
A | H | 60 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343
A | H | 61 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361
A | H | 62 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361
|  |  | PA | QA | PB | QB | PC | QC | PG | QG | VA | VB | VC | PA | QA | PB | QB | PC | QC | PG | QG | VA | VB | VC | PA | QA | PB | QB | PC | QC | PG | QG | VA | VB | VC | PA | QA | PB | QB | PC | QC | PG | QG | VA | VB | VC | PA | QA | PB | QB | PC | QC | PG | QG | VA | VB | VC
Please note that PV panels are installed at nodes 44,49,54,59
Please note that the length of data 79200 . The length of sheets 1 to 7 is 10000. The length of sheet 8 is 9200
PV homes are highlighted - all are only Phase A.
Columns 7 and 8 are the generation real power and generation reactive power - the trends we want to watch.
3) MatLab Sensor Array: 62-Node Case
11 values per node each timeslice.
|  |  | 5.0289 | 3.7717 | 0.9273
|  |  | 1.6444 | 1.2163 | 0.93396
|  |  | 1.3444 | 0.93489 | 0.96318
|  |  | 1.0144 | 0.76174 | 0.92672
|  |  | 0 | 0 | #DIV/0!
|  |  | 0.54928 | 0.41196 | 1.3333
|  |  | 0.62427 | 0.4682 | 1.3333
|  |  | 1.071 | 0.80321 | 1.3333
|  |  | 2.3143 | 1.7357 | 1.3333
|  |  | 0 | 0 | #DIV/0!
|  |  | 2.0591 | 1.5443 | 1.3333
|  |  | 2.5698 | 1.9273 | 1.3333
|  |  | 1.5334 | 1.15 | 1.3333
|  |  | 1.0411 | 0.78079 | 1.3333
|  |  | 0 | 0 | #DIV/0!
|  |  | 0.75183 | 0.56387 | 1.3333
|  |  | 19.3127 | 14.4845 | 1.3333
|  |  | 0.36667 | 0.275 | 1.3333
|  |  | 1.2052 | 0.90388 | 1.3333

## 4-ActuatorValues
DataTypeID | DataTypeAbbrev | DataTypeDesc | Phase | LoadOrGeneration | Measurement | Units
1 | QG | Column 8 - Q (generation) | NULL | Generation | Q
4) Actuator Values: 62-Node Case
Only one control point gets returned (so far) - the new reactive power setting for the smart inverter on the home PV system.
| Constants: | Value
| P1 (kW) | 0.6525 | 870 | PG at P1 watts
| Smax (kW) | 0.87 | 1000 | Smax in watts orig
| PF: | 0.75 | 0.7
| C: | 0.88192 | TAN(ACOS(PF))
If PG >= P1 then Qmax = SQRT(Smax^2 - PG^2)
else Qmax = PG*tan(cos-1(PF)) = PG*C
Equations:
Delta Q = - Delta P
(Delta QL - Delta QG) = - (DeltaPL - DeltaPG)
(Delta QL - Delta QG) = Delta PG - Delta PL
QG (t+1) = Delta PG - Delta PL - Delta QL + QG(t)
QG (t+1) = Delta PG - Delta PL - Delta QL + QG(t)
| = | PG(t+1) | PG(t) | PL(t+1) | PL(t) | QL(t+1) | QL(t) | QG(t)
|  | + | - | - | + | - | + | +

## 4b-calcs
NODE | t+1 | t | P1 (watts) | [8 empty] | D | E | J | K |  |  |  |  | PL(t+1) | QL(t+1) | PG(t+1) | QG(t+1) | PL(t) | QL(t) | PG(t) | QG(t) | Calculated Unconstrained Qpv (t+1) | Qmax | Final Qpv Setting | Ppv(t+1) | Ppv(t) | PL(t+1) | PL(t) | QL(t+1) | QL(t) | Qpv(t) | Compare Ppv | Compare Ppv at P1 | Is Ppv < P1? | If Ppv<P1 = yes, then calc Qmax from PF | Ppv | C = tan( arccos(PF)) | Elseif Ppv>= P1, then calc Qmax from Smax | Smax (kW) | Ppv | =SQRT(Smax^2-Ppv^2)
44 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D45 | '3-MatLabSensorArray'!E45 | '3-MatLabSensorArray'!K45 | '3-MatLabSensorArray'!J45 | '3-MatLabSensorArray'!O45 | '3-MatLabSensorArray'!P45 | '3-MatLabSensorArray'!U45 | '3-MatLabSensorArray'!V45 | 5.0289 | 3.7717 | 0.4492 | 0.59893 | 5.0289 | 3.7717 | 0.60011 | 0.45008 | 0.29917 | 0.39616 | 0.29917 | 0.4492 | 0.60011 | 5.0289 | 5.0289 | 3.7717 | 3.7717 | 0.45008 | 0.4492 | 0.6525 | yes | 0.39616 | 0.4492 | 0.88192 | 0.74506 | 0.87 | 0.4492 | 0.74506
49 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D50 | '3-MatLabSensorArray'!E50 | '3-MatLabSensorArray'!K50 | '3-MatLabSensorArray'!J50 | '3-MatLabSensorArray'!O50 | '3-MatLabSensorArray'!P50 | '3-MatLabSensorArray'!U50 | '3-MatLabSensorArray'!V50 | 0.54928 | 0.41196 | 0.4492 | 0.59893 | 0.54928 | 0.41196 | 0.60011 | 0.45008 | 0.29917 | 0.39616 | 0.29917 | 0.4492 | 0.60011 | 0.54928 | 0.54928 | 0.41196 | 0.41196 | 0.45008 | 0.4492 | 0.6525 | yes | 0.39616 | 0.4492 | 0.88192 | 0.74506 | 0.87 | 0.4492 | 0.74506
54 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D55 | '3-MatLabSensorArray'!E55 | '3-MatLabSensorArray'!K55 | '3-MatLabSensorArray'!J55 | '3-MatLabSensorArray'!O55 | '3-MatLabSensorArray'!P55 | '3-MatLabSensorArray'!U55 | '3-MatLabSensorArray'!V55 | 2.0591 | 1.5443 | 0.4492 | 0.59893 | 2.0591 | 1.5443 | 0.60011 | 0.45008 | 0.50247 | 0.57545 | 0.50247 | 0.6525 | 0.60011 | 2.0591 | 2.0591 | 1.5443 | 1.5443 | 0.45008 | 0.6525 | 0.6525 | no | 0.57545 | 0.6525 | 0.88192 | 0.57545 | 0.87 | 0.6525 | 0.57545
59 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D60 | '3-MatLabSensorArray'!E60 | '3-MatLabSensorArray'!K60 | '3-MatLabSensorArray'!J60 | '3-MatLabSensorArray'!O60 | '3-MatLabSensorArray'!P60 | '3-MatLabSensorArray'!U60 | '3-MatLabSensorArray'!V60 | 0.75183 | 0.56387 | 0.4492 | 0.59893 | 0.75183 | 0.56387 | 0.60011 | 0.45008 | 0.54997 | 0.51662 | 0.51662 | 0.7 | 0.60011 | 0.75183 | 0.75183 | 0.56387 | 0.56387 | 0.45008 | 0.7 | 0.6525 | no | 0.61734 | 0.7 | 0.88192 | 0.51662 | 0.87 | 0.7 | 0.51662
44 | 4 | 3 | 0.6525 | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O45 | '3-MatLabSensorArray'!P45 | '3-MatLabSensorArray'!U45 | '3-MatLabSensorArray'!V45 | '3-MatLabSensorArray'!Z45 | '3-MatLabSensorArray'!AA45 | '3-MatLabSensorArray'!AF45 | '3-MatLabSensorArray'!AG45 | 5.0289 | 3.7717 | 0.60011 | 0.45008 | 5.0289 | 3.7717 | 0.59933 | 0.4493 | 0.45008 | 0.52925 | 0.45008 | 0.60011 | 0.59933 | 5.0289 | 5.0289 | 3.7717 | 3.7717 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
49 | 4 | 3 | 0.6525 | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O50 | '3-MatLabSensorArray'!P50 | '3-MatLabSensorArray'!U50 | '3-MatLabSensorArray'!V50 | '3-MatLabSensorArray'!Z50 | '3-MatLabSensorArray'!AA50 | '3-MatLabSensorArray'!AF50 | '3-MatLabSensorArray'!AG50 | 0.54928 | 0.41196 | 0.60011 | 0.45008 | 0.54928 | 0.41196 | 0.59933 | 0.4493 | 0.45008 | 0.52925 | 0.45008 | 0.60011 | 0.59933 | 0.54928 | 0.54928 | 0.41196 | 0.41196 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
54 | 4 | 3 | 0.6525 | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O55 | '3-MatLabSensorArray'!P55 | '3-MatLabSensorArray'!U55 | '3-MatLabSensorArray'!V55 | '3-MatLabSensorArray'!Z55 | '3-MatLabSensorArray'!AA55 | '3-MatLabSensorArray'!AF55 | '3-MatLabSensorArray'!AG55 | 2.0591 | 1.5443 | 0.60011 | 0.45008 | 2.0591 | 1.5443 | 0.59933 | 0.4493 | 0.45008 | 0.52925 | 0.45008 | 0.60011 | 0.59933 | 2.0591 | 2.0591 | 1.5443 | 1.5443 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
59 | 4 | 3 | 0.6525 | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O60 | '3-MatLabSensorArray'!P60 | '3-MatLabSensorArray'!U60 | '3-MatLabSensorArray'!V60 | '3-MatLabSensorArray'!Z60 | '3-MatLabSensorArray'!AA60 | '3-MatLabSensorArray'!AF60 | '3-MatLabSensorArray'!AG60 | 0.75183 | 0.56387 | 0.60011 | 0.45008 | 0.75183 | 0.56387 | 0.59933 | 0.4493 | 0.45008 | 0.52925 | 0.45008 | 0.60011 | 0.59933 | 0.75183 | 0.75183 | 0.56387 | 0.56387 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
44 | 3 | 2 | 0.6525 | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z45 | '3-MatLabSensorArray'!AA45 | '3-MatLabSensorArray'!AF45 | '3-MatLabSensorArray'!AG45 | '3-MatLabSensorArray'!AK45 | '3-MatLabSensorArray'!AL45 | '3-MatLabSensorArray'!AQ45 | '3-MatLabSensorArray'!AR45 | 5.0289 | 3.7717 | 0.59933 | 0.4493 | 5.0289 | 3.7717 | 0.59893 | 0.44891 | 0.4493 | 0.52856 | 0.4493 | 0.59933 | 0.59893 | 5.0289 | 5.0289 | 3.7717 | 3.7717 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
49 | 3 | 2 | 0.6525 | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z50 | '3-MatLabSensorArray'!AA50 | '3-MatLabSensorArray'!AF50 | '3-MatLabSensorArray'!AG50 | '3-MatLabSensorArray'!AK50 | '3-MatLabSensorArray'!AL50 | '3-MatLabSensorArray'!AQ50 | '3-MatLabSensorArray'!AR50 | 0.54928 | 0.41196 | 0.59933 | 0.4493 | 0.54928 | 0.41196 | 0.59893 | 0.44891 | 0.4493 | 0.52856 | 0.4493 | 0.59933 | 0.59893 | 0.54928 | 0.54928 | 0.41196 | 0.41196 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
54 | 3 | 2 | 0.6525 | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z55 | '3-MatLabSensorArray'!AA55 | '3-MatLabSensorArray'!AF55 | '3-MatLabSensorArray'!AG55 | '3-MatLabSensorArray'!AK55 | '3-MatLabSensorArray'!AL55 | '3-MatLabSensorArray'!AQ55 | '3-MatLabSensorArray'!AR55 | 2.0591 | 1.5443 | 0.59933 | 0.4493 | 2.0591 | 1.5443 | 0.59893 | 0.44891 | 0.4493 | 0.52856 | 0.4493 | 0.59933 | 0.59893 | 2.0591 | 2.0591 | 1.5443 | 1.5443 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
59 | 3 | 2 | 0.6525 | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z60 | '3-MatLabSensorArray'!AA60 | '3-MatLabSensorArray'!AF60 | '3-MatLabSensorArray'!AG60 | '3-MatLabSensorArray'!AK60 | '3-MatLabSensorArray'!AL60 | '3-MatLabSensorArray'!AQ60 | '3-MatLabSensorArray'!AR60 | 0.75183 | 0.56387 | 0.59933 | 0.4493 | 0.75183 | 0.56387 | 0.59893 | 0.44891 | 0.4493 | 0.52856 | 0.4493 | 0.59933 | 0.59893 | 0.75183 | 0.75183 | 0.56387 | 0.56387 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
44 | 2 | 1 | 0.6525 | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK45 | '3-MatLabSensorArray'!AL45 | '3-MatLabSensorArray'!AQ45 | '3-MatLabSensorArray'!AR45 | '3-MatLabSensorArray'!AV45 | '3-MatLabSensorArray'!AW45 | '3-MatLabSensorArray'!BB45 | '3-MatLabSensorArray'!BC45 | 5.0289 | 3.7717 | 0.59893 | 0.44891 | 5.0289 | 3.7717 | 0.59697 | 0.44694 | 0.44891 | 0.52821 | 0.44891 | 0.59893 | 0.59697 | 5.0289 | 5.0289 | 3.7717 | 3.7717 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
49 | 2 | 1 | 0.6525 | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK50 | '3-MatLabSensorArray'!AL50 | '3-MatLabSensorArray'!AQ50 | '3-MatLabSensorArray'!AR50 | '3-MatLabSensorArray'!AV50 | '3-MatLabSensorArray'!AW50 | '3-MatLabSensorArray'!BB50 | '3-MatLabSensorArray'!BC50 | 0.54928 | 0.41196 | 0.59893 | 0.44891 | 0.54928 | 0.41196 | 0.59697 | 0.44694 | 0.44891 | 0.52821 | 0.44891 | 0.59893 | 0.59697 | 0.54928 | 0.54928 | 0.41196 | 0.41196 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
54 | 2 | 1 | 0.6525 | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK55 | '3-MatLabSensorArray'!AL55 | '3-MatLabSensorArray'!AQ55 | '3-MatLabSensorArray'!AR55 | '3-MatLabSensorArray'!AV55 | '3-MatLabSensorArray'!AW55 | '3-MatLabSensorArray'!BB55 | '3-MatLabSensorArray'!BC55 | 2.0591 | 1.5443 | 0.59893 | 0.44891 | 2.0591 | 1.5443 | 0.59697 | 0.44694 | 0.44891 | 0.52821 | 0.44891 | 0.59893 | 0.59697 | 2.0591 | 2.0591 | 1.5443 | 1.5443 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
59 | 2 | 1 | 0.6525 | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK60 | '3-MatLabSensorArray'!AL60 | '3-MatLabSensorArray'!AQ60 | '3-MatLabSensorArray'!AR60 | '3-MatLabSensorArray'!AV60 | '3-MatLabSensorArray'!AW60 | '3-MatLabSensorArray'!BB60 | '3-MatLabSensorArray'!BC60 | 0.75183 | 0.56387 | 0.59893 | 0.44891 | 0.75183 | 0.56387 | 0.59697 | 0.44694 | 0.44891 | 0.52821 | 0.44891 | 0.59893 | 0.59697 | 0.75183 | 0.75183 | 0.56387 | 0.56387 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
In all cases except two, our calculated value is less than Qmax, so we use our calculated value.
In one case (Row 4), the Ppv was 0.6525 - which is not less than the P1 limit of 0.6525, so we calculate Qmax from Smax as 0.5755 - but our calculated value was less than that, so we use the calculated value of 0.5025.
In one case (Row 5), the Ppv was 0.7 - greater than the P1 limit of 0.6525. In that case, we calculate Qmax from Smax and cap our Q at 0.5166.

## 4b-calcsNeighborhood
Case 1: Data from the original matlab array (Inverter setting just for the PV home happens to be the same as if the inverter is set to offset all 4 homes.)
Q serves 4 home loads | t+1 | t | P1 (watts) if PV enabled | [8 empty] | D | E | J | K |  |  |  |  | PL(t+1) | QL(t+1) | PG(t+1) | QG(t+1) | PL(t) | QL(t) | PG(t) | QG(t) | Calculated Aggregate Unconstrained Qpv (t+1) | Selected Qmax | Final Qpv Setting (serving all 4 homes) | Ppv(t+1) | Ppv(t) | Aggregate txfmr load: PL(t+1) | Aggregate txfmr load: PL(t) | Aggregate txfmr load: QL(t+1) | Aggregate txfmr load: QL(t) | Qpv(t) | Compare Ppv | Compare Ppv at P1 | Is Ppv < P1? | If Ppv<P1 = yes, then calc Qmax from PF | Ppv | C = tan( arccos(PF)) | Elseif Ppv>= P1, then calc Qmax from Smax | Smax (kW) | Ppv | =SQRT(Smax^2-Ppv^2)
All 4 homes |  |  | 0.6525 | [24 empty] | 0.29917 | 0.39616 | 0.29917 | 0.4492 | 0.60011 | 8.9128 | 8.9128 | 6.6846 | 6.6846 | 0.45008 | 0.4492 | 0.6525 | yes | 0.39616 | 0.4492 | 0.88192 | 0.74506 | 0.87 | 0.4492 | 0.74506
Q just for 1 PV home | t+1 | t | P1 (watts) if PV enabled | [8 empty] | D | E | J | K |  |  |  |  | PL(t+1) | QL(t+1) | PG(t+1) | QG(t+1) | PL(t) | QL(t) | PG(t) | QG(t) | Unconstrained Qpv (t+1) | Selected Qmax | Final Qpv Setting (just this 1 PV home load) | Ppv(t+1) | Ppv(t) | PL(t+1) | PL(t) | QL(t+1) | QL(t) | Qpv(t) | Compare Ppv | Compare Ppv at P1 | Is Ppv < P1? | If Ppv<P1 = yes, then calc Qmax from PF | Ppv | C = tan( arccos(PF)) | Elseif Ppv>= P1, then calc Qmax from Smax | Smax (kW) | Ppv | =SQRT(Smax^2-Ppv^2)
44 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D45 | '3-MatLabSensorArray'!E45 | '3-MatLabSensorArray'!K45 | '3-MatLabSensorArray'!J45 | '3-MatLabSensorArray'!O45 | '3-MatLabSensorArray'!P45 | '3-MatLabSensorArray'!U45 | '3-MatLabSensorArray'!V45 | 5.0289 | 3.7717 | 0.4492 | 0.59893 | 5.0289 | 3.7717 | 0.60011 | 0.45008 | 0.29917 | 0.39616 | 0.29917 | 0.4492 | 0.60011 | 5.0289 | 5.0289 | 3.7717 | 3.7717 | 0.45008 | 0.4492 | 0.6525 | yes | 0.39616 | 0.4492 | 0.88192 | 0.74506 | 0.87 | 0.4492 | 0.74506
45 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D46 | '3-MatLabSensorArray'!E46 | '3-MatLabSensorArray'!K46 | '3-MatLabSensorArray'!J46 | '3-MatLabSensorArray'!O46 | '3-MatLabSensorArray'!P46 | '3-MatLabSensorArray'!U46 | '3-MatLabSensorArray'!V46 | 1.6217 | 1.2163 | 0 | 0 | 1.6217 | 1.2163 | 0 | 0 |  |  |  | 0 | 0 | 1.6217 | 1.6217 | 1.2163 | 1.2163 | 0
46 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D47 | '3-MatLabSensorArray'!E47 | '3-MatLabSensorArray'!K47 | '3-MatLabSensorArray'!J47 | '3-MatLabSensorArray'!O47 | '3-MatLabSensorArray'!P47 | '3-MatLabSensorArray'!U47 | '3-MatLabSensorArray'!V47 | 1.2465 | 0.93489 | 0 | 0 | 1.2465 | 0.93489 | 0 | 0 |  |  |  | 0 | 0 | 1.2465 | 1.2465 | 0.93489 | 0.93489 | 0
47 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D48 | '3-MatLabSensorArray'!E48 | '3-MatLabSensorArray'!K48 | '3-MatLabSensorArray'!J48 | '3-MatLabSensorArray'!O48 | '3-MatLabSensorArray'!P48 | '3-MatLabSensorArray'!U48 | '3-MatLabSensorArray'!V48 | 1.0156 | 0.76174 | 0 | 0 | 1.0156 | 0.76174 | 0 | 0 |  |  |  | 0 | 0 | 1.0156 | 1.0156 | 0.76174 | 0.76174 | 0
49 Comb |  |  | 0.6525 | [24 empty] | 0.45008 |  |  | 0.60011 | 0.59933 | 4.5588 | 4.5588 | 3.4191 | 3.4191 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
49 | 0 | 0 | 0.6525 | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O50 | '3-MatLabSensorArray'!P50 | '3-MatLabSensorArray'!U50 | '3-MatLabSensorArray'!V50 | '3-MatLabSensorArray'!Z50 | '3-MatLabSensorArray'!AA50 | '3-MatLabSensorArray'!AF50 | '3-MatLabSensorArray'!AG50 | 0.54928 | 0.41196 | 0.60011 | 0.45008 | 0.54928 | 0.41196 | 0.59933 | 0.4493 | 0.45008 | 0.52925 | 0.45008 | 0.60011 | 0.59933 | 0.54928 | 0.54928 | 0.41196 | 0.41196 | 0.4493 | 0.60011 | 0.6525 | yes | 0.52925 | 0.60011 | 0.88192 | 0.62989 | 0.87 | 0.60011 | 0.62989
50 | 0 | 0 |  | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O51 | '3-MatLabSensorArray'!P51 | '3-MatLabSensorArray'!U51 | '3-MatLabSensorArray'!V51 | '3-MatLabSensorArray'!Z51 | '3-MatLabSensorArray'!AA51 | '3-MatLabSensorArray'!AF51 | '3-MatLabSensorArray'!AG51 | 0.62427 | 0.4682 | 0 | 0 | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62427 | 0.62427 | 0.4682 | 0.4682 | 0
51 | 0 | 0 |  | O | P | U | V | Z | AA | AF | AG | '3-MatLabSensorArray'!O52 | '3-MatLabSensorArray'!P52 | '3-MatLabSensorArray'!U52 | '3-MatLabSensorArray'!V52 | '3-MatLabSensorArray'!Z52 | '3-MatLabSensorArray'!AA52 | '3-MatLabSensorArray'!AF52 | '3-MatLabSensorArray'!AG52 | 1.071 | 0.80321 | 0 | 0 | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.071 | 1.071 | 0.80321 | 0.80321 | 0
52 | -1 | -1 |  | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z53 | '3-MatLabSensorArray'!AA53 | '3-MatLabSensorArray'!AF53 | '3-MatLabSensorArray'!AG53 | '3-MatLabSensorArray'!AK53 | '3-MatLabSensorArray'!AL53 | '3-MatLabSensorArray'!AQ53 | '3-MatLabSensorArray'!AR53 | 2.3143 | 1.7357 | 0 | 0 | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3143 | 2.3143 | 1.7357 | 1.7357 | 0
54 Comb |  |  | 0.6525 | [24 empty] | 0.4493 |  |  | 0.59933 | 0.59893 | 7.2033 | 7.2033 | 5.4025 | 5.4025 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
54 | 0 | 0 | 0.6525 | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z55 | '3-MatLabSensorArray'!AA55 | '3-MatLabSensorArray'!AF55 | '3-MatLabSensorArray'!AG55 | '3-MatLabSensorArray'!AK55 | '3-MatLabSensorArray'!AL55 | '3-MatLabSensorArray'!AQ55 | '3-MatLabSensorArray'!AR55 | 2.0591 | 1.5443 | 0.59933 | 0.4493 | 2.0591 | 1.5443 | 0.59893 | 0.44891 | 0.4493 | 0.52856 | 0.4493 | 0.59933 | 0.59893 | 2.0591 | 2.0591 | 1.5443 | 1.5443 | 0.44891 | 0.59933 | 0.6525 | yes | 0.52856 | 0.59933 | 0.88192 | 0.63064 | 0.87 | 0.59933 | 0.63064
55 | 0 | 0 |  | Z | AA | AF | AG | AK | AL | AQ | AR | '3-MatLabSensorArray'!Z56 | '3-MatLabSensorArray'!AA56 | '3-MatLabSensorArray'!AF56 | '3-MatLabSensorArray'!AG56 | '3-MatLabSensorArray'!AK56 | '3-MatLabSensorArray'!AL56 | '3-MatLabSensorArray'!AQ56 | '3-MatLabSensorArray'!AR56 | 2.5698 | 1.9273 | 0 | 0 | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5698 | 2.5698 | 1.9273 | 1.9273 | 0
56 | -2 | -2 |  | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK57 | '3-MatLabSensorArray'!AL57 | '3-MatLabSensorArray'!AQ57 | '3-MatLabSensorArray'!AR57 | '3-MatLabSensorArray'!AV57 | '3-MatLabSensorArray'!AW57 | '3-MatLabSensorArray'!BB57 | '3-MatLabSensorArray'!BC57 | 1.5334 | 1.15 | 0 | 0 | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5334 | 1.5334 | 1.15 | 1.15 | 0
57 | -2 | -2 |  | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK58 | '3-MatLabSensorArray'!AL58 | '3-MatLabSensorArray'!AQ58 | '3-MatLabSensorArray'!AR58 | '3-MatLabSensorArray'!AV58 | '3-MatLabSensorArray'!AW58 | '3-MatLabSensorArray'!BB58 | '3-MatLabSensorArray'!BC58 | 1.0411 | 0.78079 | 0 | 0 | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0411 | 1.0411 | 0.78079 | 0.78079 | 0
59 Comb |  |  | 0.6525 | [24 empty] | 0.44891 |  |  | 0.59893 | 0.59697 | 21.6363 | 21.6363 | 16.2272 | 16.2272 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
59 | 0 | 0 | 0.6525 | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK60 | '3-MatLabSensorArray'!AL60 | '3-MatLabSensorArray'!AQ60 | '3-MatLabSensorArray'!AR60 | '3-MatLabSensorArray'!AV60 | '3-MatLabSensorArray'!AW60 | '3-MatLabSensorArray'!BB60 | '3-MatLabSensorArray'!BC60 | 0.75183 | 0.56387 | 0.59893 | 0.44891 | 0.75183 | 0.56387 | 0.59697 | 0.44694 | 0.44891 | 0.52821 | 0.44891 | 0.59893 | 0.59697 | 0.75183 | 0.75183 | 0.56387 | 0.56387 | 0.44694 | 0.59893 | 0.6525 | yes | 0.52821 | 0.59893 | 0.88192 | 0.63101 | 0.87 | 0.59893 | 0.63101
60 | 0 | 0 |  | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK61 | '3-MatLabSensorArray'!AL61 | '3-MatLabSensorArray'!AQ61 | '3-MatLabSensorArray'!AR61 | '3-MatLabSensorArray'!AV61 | '3-MatLabSensorArray'!AW61 | '3-MatLabSensorArray'!BB61 | '3-MatLabSensorArray'!BC61 | 19.3127 | 14.4845 | 0 | 0 | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3127 | 19.3127 | 14.4845 | 14.4845 | 0
61 | 0 | 0 |  | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK62 | '3-MatLabSensorArray'!AL62 | '3-MatLabSensorArray'!AQ62 | '3-MatLabSensorArray'!AR62 | '3-MatLabSensorArray'!AV62 | '3-MatLabSensorArray'!AW62 | '3-MatLabSensorArray'!BB62 | '3-MatLabSensorArray'!BC62 | 0.36667 | 0.275 | 0 | 0 | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.36667 | 0.275 | 0.275 | 0
62 | 0 | 0 |  | AK | AL | AQ | AR | AV | AW | BB | BC | '3-MatLabSensorArray'!AK63 | '3-MatLabSensorArray'!AL63 | '3-MatLabSensorArray'!AQ63 | '3-MatLabSensorArray'!AR63 | '3-MatLabSensorArray'!AV63 | '3-MatLabSensorArray'!AW63 | '3-MatLabSensorArray'!BB63 | '3-MatLabSensorArray'!BC63 | 1.2052 | 0.90388 | 0 | 0 | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2052 | 1.2052 | 0.90388 | 0.90388 | 0
Case 2: Each home's delta load increased a bit more, while the generation dropped off a bit.
Case 2: Q serves 4 home loads | t+1 | t | P1 (watts) if PV enabled | [8 empty] | D | E | J | K |  |  |  |  | PL(t+1) | QL(t+1) | PG(t+1) | QG(t+1) | PL(t) | QL(t) | PG(t) | QG(t) | Calculated Aggregate Unconstrained Qpv (t+1) | Selected Qmax | Final Qpv Setting (serving all 4 homes) | Ppv(t+1) | Ppv(t) | Aggregate txfmr load: PL(t+1) | Aggregate txfmr load: PL(t) | Aggregate txfmr load: QL(t+1) | Aggregate txfmr load: QL(t) | Qpv(t) | Compare Ppv | Compare Ppv at P1 | Is Ppv < P1? | If Ppv<P1 = yes, then calc Qmax from PF | Ppv | C = tan( arccos(PF)) | Elseif Ppv>= P1, then calc Qmax from Smax | Smax (kW) | Ppv | =SQRT(Smax^2-Ppv^2)
All 4 homes |  |  | 0.6525 | [24 empty] | 0.21262 | 0.38333 | 0.21262 | 0.43465 | 0.60011 | 8.9848 | 8.9128 | 6.6846 | 6.6846 | 0.45008 | 0.43465 | 0.6525 | yes | 0.38333 | 0.43465 | 0.88192 | 0.75364 | 0.87 | 0.43465 | 0.75364
Case 2: Q just for 1 PV home | t+1 | t | P1 (watts) if PV enabled | [8 empty] | D | E | J | K |  |  |  |  | PL(t+1) | QL(t+1) | PG(t+1) | QG(t+1) | PL(t) | QL(t) | PG(t) | QG(t) | Unconstrained Qpv (t+1) | Selected Qmax | Final Qpv Setting (just this 1 PV home load) | At the same time, the Pgen decreased by 0.01455: Ppv(t+1) | Ppv(t) | Active PL increased at each home by 0.18: PL(t+1) | PL(t) | QL(t+1) | QL(t) | Qpv(t) | Compare Ppv | Compare Ppv at P1 | Is Ppv < P1? | If Ppv<P1 = yes, then calc Qmax from PF | Ppv | C = tan( arccos(PF)) | Elseif Ppv>= P1, then calc Qmax from Smax | Smax (kW) | Ppv | =SQRT(Smax^2-Ppv^2)
44 | 5 | 4 | 0.6525 | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D45 | '3-MatLabSensorArray'!E45 | '3-MatLabSensorArray'!K45 | '3-MatLabSensorArray'!J45 | '3-MatLabSensorArray'!O45 | '3-MatLabSensorArray'!P45 | '3-MatLabSensorArray'!U45 | '3-MatLabSensorArray'!V45 | 5.0289 | 3.7717 | 0.4492 | 0.59893 | 5.0289 | 3.7717 | 0.60011 | 0.45008 | 0.26662 | 0.38333 | 0.26662 | 0.43465 | 0.60011 | 5.0469 | 5.0289 | 3.7717 | 3.7717 | 0.45008 | 0.43465 | 0.6525 | yes | 0.38333 | 0.43465 | 0.88192 | 0.75364 | 0.87 | 0.43465 | 0.75364
45 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D46 | '3-MatLabSensorArray'!E46 | '3-MatLabSensorArray'!K46 | '3-MatLabSensorArray'!J46 | '3-MatLabSensorArray'!O46 | '3-MatLabSensorArray'!P46 | '3-MatLabSensorArray'!U46 | '3-MatLabSensorArray'!V46 | 1.6217 | 1.2163 | 0 | 0 | 1.6217 | 1.2163 | 0 | 0 |  |  |  | 0 | 0 | 1.6397 | 1.6217 | 1.2163 | 1.2163 | 0
46 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D47 | '3-MatLabSensorArray'!E47 | '3-MatLabSensorArray'!K47 | '3-MatLabSensorArray'!J47 | '3-MatLabSensorArray'!O47 | '3-MatLabSensorArray'!P47 | '3-MatLabSensorArray'!U47 | '3-MatLabSensorArray'!V47 | 1.2465 | 0.93489 | 0 | 0 | 1.2465 | 0.93489 | 0 | 0 |  |  |  | 0 | 0 | 1.2645 | 1.2465 | 0.93489 | 0.93489 | 0
47 | 5 | 4 |  | D | E | K | J | O | P | U | V | '3-MatLabSensorArray'!D48 | '3-MatLabSensorArray'!E48 | '3-MatLabSensorArray'!K48 | '3-MatLabSensorArray'!J48 | '3-MatLabSensorArray'!O48 | '3-MatLabSensorArray'!P48 | '3-MatLabSensorArray'!U48 | '3-MatLabSensorArray'!V48 | 1.0156 | 0.76174 | 0 | 0 | 1.0156 | 0.76174 | 0 | 0 |  |  |  | 0 | 0 | 1.0336 | 1.0156 | 0.76174 | 0.76174 | 0
[31 empty] | Q | 3.7717
[31 empty] | P | 5.0289
P
Q
tan a = Q/P

## 5-MatLabActuatorValues
Row Number | Timeslice 1 | Timeslice 2 | 5) MatLab Actuator Array: 62-Node Case
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0
19 | 0 | 0
20 | 0 | 0
21 | 0 | 0
22 | 0 | 0
23 | 0 | 0
24 | 0 | 0
25 | 0 | 0
26 | 0 | 0
27 | 0 | 0
28 | 0 | 0
29 | 0 | 0
30 | 0 | 0
31 | 0 | 0
32 | 0 | 0
33 | 0 | 0
34 | 0 | 0
35 | 0 | 0
36 | 0 | 0
37 | 0 | 0
38 | 0 | 0
39 | 0 | 0
40 | 0 | 0
41 | 0 | 0
42 | 0 | 0
43 | 0 | 0
44 | 0.4492 | 0.45008
45 | 0 | 0
46 | 0 | 0
47 | 0 | 0
48 | 0 | 0
49 | 0.4492 | 0.45008
50 | 0 | 0
51 | 0 | 0
52 | 0 | 0
53 | 0 | 0
54 | 0.4492 | 0.45008
55 | 0 | 0
56 | 0 | 0
57 | 0 | 0
58 | 0 | 0
59 | 0.4492 | 0.45008
60 | 0 | 0
61 | 0 | 0
62 | 0 | 0

## ConfigBuilderInput
Phase | Type Abbrev | Row Number | OrgMasterPersona | OrgAbbrev | MainAgent | ForecasterAgent | HostAbbrev | OrgWorkerPersona1 | OrgWorkerPersona2 | OrgWorkerPersona3 | OrgWorkerPersona4 | echoD | CalcMaster
ABC | S | 1 | S1 | S1 | S1 | S1_F | S1 | 2 |  |  |  | S1
ABC | F | 2 | F2 | F2 | F2 | F2_F | F2 | 3 |  |  |  | F2 | S1
ABC | F | 3 | F3 | F3 | F3 | F3_F | F3 | 4 |  |  |  | F3 | F2
ABC | F | 4 | F4 | F4 | F4 | F4_F | F4 | 26 | 5 | 29 |  | F4 | F3
ABC | F | 5 | F5 | F5 | F5 | F5_F | F5 | 6 | 10 |  |  | F5 | F4
ABC | F | 6 | F6 | F6 | F6 | F6_F | F6 | 7 |  |  |  | F6 | F5
ABC | F | 7 | F7 | F7 | F7 | F7_F | F7 | 8 | 9 |  |  | F7 | F6
ABC | F | 8 | F8 | F8 | F8 | F8_F | F8 |  |  |  |  | F8 | F7
ABC | F | 9 | F9 | F9 | F9 | F9_F | F9 |  |  |  |  | F9 | F7
ABC | F | 10 | F10 | F10 | F10 | F10_F | F10 | 11 |  |  |  | F10 | F5
ABC | F | 11 | F11 | F11 | F11 | F11_F | F11 | 12 | 25 | 24 |  | F11 | F10
ABC | F | 12 | F12 | F12 | F12 | F12_F | F12 | 13 | 14 |  |  | F12 | F11
ABC | F | 13 | F13 | F13 | F13 | F13_F | F13 |  |  |  |  | F13 | F12
ABC | F | 14 | F14 | F14 | F14 | F14_F | F14 | 15 |  |  |  | F14 | F12
ABC | F | 15 | F15 | F15 | F15 | F15_F | F15 | 16 | 19 |  |  | F15 | F14
ABC | F | 16 | F16 | F16 | F16 | F16_F | F16 | 17 | 18 |  |  | F16 | F15
ABC | F | 17 | F17 | F17 | F17 | F17_F | F17 |  |  |  |  | F17 | F16
ABC | F | 18 | F18 | F18 | F18 | F18_F | F18 |  |  |  |  | F18 | F16
ABC | F | 19 | F19 | F19 | F19 | F19_F | F19 | 20 |  |  |  | F19 | F15
ABC | F | 20 | F20 | F20 | F20 | F20_F | F20 | 21 |  |  |  | F20 | F19
ABC | F | 21 | F21 | F21 | F21 | F21_F | F21 | 22 | 23 |  |  | F21 | F20
ABC | F | 22 | F22 | F22 | F22 | F22_F | F22 |  |  |  |  | F22 | F21
ABC | F | 23 | F23 | F23 | F23 | F23_F | F23 |  |  |  |  | F23 | F21
ABC | F | 24 | F24 | F24 | F24 | F24_F | F24 |  |  |  |  | F24 | F11
ABC | F | 25 | F25 | F25 | F25 | F25_F | F25 |  |  |  |  | F25 | F11
ABC | F | 26 | F26 | F26 | F26 | F26_F | F26 | 27 | 28 |  |  | F26 | F4
ABC | F | 27 | F27 | F27 | F27 | F27_F | F27 |  |  |  |  | F27 | F26
ABC | F | 28 | F28 | F28 | F28 | F28_F | F28 |  |  |  |  | F28 | F26
ABC | F | 29 | F29 | F29 | F29 | F29_F | F29 | 30 |  |  |  | F29 | F4
ABC | F | 30 | F30 | F30 | F30 | F30_F | F30 | 31 | 33 |  |  | F30 | F29
ABC | F | 31 | F31 | F31 | F31 | F31_F | F31 | 32 |  |  |  | F31 | F30
ABC | F | 32 | F32 | F32 | F32 | F32_F | F32 | 39 | 40 | 41 | 42 | F32 | F31
ABC | F | 33 | F33 | F33 | F33 | F33_F | F33 | 34 | 36 |  |  | F33 | F30
ABC | F | 34 | F34 | F34 | F34 | F34_F | F34 | 35 |  |  |  | F34 | F33
ABC | F | 35 | F35 | F35 | F35 | F35_F | F35 |  |  |  |  | F35 | F34
ABC | F | 36 | F36 | F36 | F36 | F36_F | F36 | 37 | 38 |  |  | F36 | F33
ABC | F | 37 | F37 | F37 | F37 | F37_F | F37 |  |  |  |  | F37 | F36
ABC | F | 38 | F38 | F38 | F38 | F38_F | F38 |  |  |  |  | F38 | F36
A | L | 39 | L39 | L39 | L39 | L39_F | L39 | 43 |  |  |  | L39 | F32
A | L | 40 | L40 | L40 | L40 | L40_F | L40 | 48 |  |  |  | L40 | F32
A | L | 41 | L41 | L41 | L41 | L41_F | L41 | 53 |  |  |  | L41 | F32
A | L | 42 | L42 | L42 | L42 | L42_F | L42 | 58 |  |  |  | L42 | F32
A | N | 43 | N43 | N43 | N43 | N43_F | N43 | 44 | 45 | 46 | 47 | N43 | L39
A | H | 44 |  |  | H44 | H44_F | H44 | [5 empty] | N43
A | H | 45 |  |  | H45 | H45_F | H45 | [5 empty] | N43
A | H | 46 |  |  | H46 | H46_F | H46 | [5 empty] | N43
A | H | 47 |  |  | H47 | H47_F | H47 | [5 empty] | N43
A | N | 48 | N48 | N48 | N48 | N48_F | N48 | 49 | 50 | 51 | 52 | N48 | L40
A | H | 49 |  |  | H49 | H49_F | H49 | [5 empty] | N48
A | H | 50 |  |  | H50 | H50_F | H50 | [5 empty] | N48
A | H | 51 |  |  | H51 | H51_F | H51 | [5 empty] | N48
A | H | 52 |  |  | H52 | H52_F | H52 | [5 empty] | N48
A | N | 53 | N53 | N53 | N53 | N53_F | N53 | 54 | 55 | 56 | 57 | N53 | L41
A | H | 54 |  |  | H54 | H54_F | H54 | [5 empty] | N53
A | H | 55 |  |  | H55 | H55_F | H55 | [5 empty] | N53
A | H | 56 |  |  | H56 | H56_F | H56 | [5 empty] | N53
A | H | 57 |  |  | H57 | H57_F | H57 | [5 empty] | N53
A | N | 58 | N58 | N58 | N58 | N58_F | N58 | 59 | 60 | 61 | 62 | N58 | L42
A | H | 59 |  |  | H59 | H59_F | H59 | [5 empty] | N58
A | H | 60 |  |  | H60 | H60_F | H60 | [5 empty] | N58
A | H | 61 |  |  | H61 | H61_F | H61 | [5 empty] | N58
A | H | 62 |  |  | H62 | H62_F | H62 | [5 empty] | N58

## Sheet1
1 | S1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | {1,'S1' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
2 | F2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | {2,'F2' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
3 | F3 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 101.1111 | 55.3704 | 0 | 0 | 0.99742 | 0.9978 | 0.99691 | {3,'F3' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
4 | F4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99591 | 0.99672 | 0.99529 | {4,'F4' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
5 | F5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99455 | 0.99606 | 0.99397 | {5,'F5' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
6 | F6 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99428 | 0.9959 | 0.99368 | {6,'F6' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
7 | F7 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9941 | 0.99584 | 0.99357 | {7,'F7' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
8 | F8 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 20.2222 | 10.1111 | 0 | 0 | 0.994 | 0.99574 | 0.99347 | {8,'F8' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
9 | F9 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99402 | 0.99584 | 0.99351 | {9,'F9' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
10 | F10 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99339 | 0.99528 | 0.99282 | {10,'F10' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
11 | F11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | {11,'F11' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
12 | F12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99245 | 0.99479 | 0.99202 | {12,'F12' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
13 | F13 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99244 | 0.99473 | 0.99192 | {13,'F13' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
14 | F14 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99189 | 0.99456 | 0.99159 | {14,'F14' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
15 | F15 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99111 | 0.99414 | 0.9909 | {15,'F15' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
16 | F16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99081 | 0.99366 | 0.9909 | {16,'F16' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
17 | F17 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99073 | 0.99354 | 0.9909 | {17,'F17' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
18 | F18 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99055 | 0.99327 | 0.9909 | {18,'F18' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
19 | F19 | 67.4074 | 33.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99039 | 0.99403 | 0.99024 | {19,'F19' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
20 | F20 | 60.6667 | 29.8519 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99017 | 0.99396 | 0.98993 | {20,'F20' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
21 | F21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99015 | 0.99386 | 0.98971 | {21,'F21' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
22 | F22 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99015 | 0.99379 | 0.98959 | {22,'F22' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
23 | F23 | 0 | 0 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0.99015 | 0.99383 | 0.98964 | {23,'F23' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
24 | F24 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99291 | 0.99484 | 0.99252 | {24,'F24' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
25 | F25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99301 | 0.99505 | 0.99252 | {25,'F25' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
26 | F26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99573 | 0.99632 | 0.99502 | {26,'F26' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
27 | F27 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99572 | 0.99623 | 0.99487 | {27,'F27' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
28 | F28 | 3.8519 | 1.9259 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0.99558 | 0.99613 | 0.99501 | {28,'F28' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
29 | F29 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99543 | 0.99625 | 0.99484 | {29,'F29' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
30 | F30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99475 | 0.99566 | 0.9944 | {30,'F30' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
31 | F31 | 8.1852 | 3.8519 | 10.1111 | 4.8148 | 0 | 0 | 0 | 0 | 0.99463 | 0.99565 | 0.99432 | {31,'F31' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
32 | F32 | 40.9259 | 19.2593 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99398 | 0.99568 | 0.99386 | {32,'F32' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
33 | F33 | 0 | 0 | 0 | 0 | 40.9259 | 19.2593 | 0 | 0 | 0.99437 | 0.99478 | 0.99403 | {33,'F33' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
34 | F34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99432 | 0.99468 | 0.99403 | {34,'F34' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
35 | F35 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99426 | 0.99459 | 0.99403 | {35,'F35' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
36 | F36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99357 | 0.99348 | 0.99389 | {36,'F36' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
37 | F37 | 0 | 0 | 67.4074 | 33.7037 | 10.1111 | 4.8148 | 0 | 0 | 0.99349 | 0.99335 | 0.99387 | {37,'F37' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
38 | F38 | 0 | 0 | 20.2222 | 10.1111 | 0 | 0 | 0 | 0 | 0.99342 | 0.99325 | 0.99389 | {38,'F38' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
39 | L39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | {39,'L39' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
40 | L40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | {40,'L40' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
41 | L41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | {41,'L41' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
42 | L42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | {42,'L42' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
43 | N43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99387 | 0.99568 | 0.99381 | {43,'N43' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
44 |  | 5.0289 | 3.7717 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99382 | 0.99568 | 0.99377 | {44,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
45 |  | 1.6217 | 1.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.99379 | {45,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
46 |  | 1.2465 | 0.93489 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99385 | 0.99568 | 0.9938 | {46,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
47 |  | 1.0156 | 0.76174 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99386 | 0.99568 | 0.9938 | {47,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
48 | N48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9937 | 0.99568 | 0.99373 | {48,'N48' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
49 |  | 0.54928 | 0.41196 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.9937 | 0.99568 | 0.99374 | {49,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
50 |  | 0.62427 | 0.4682 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99369 | 0.99568 | 0.99373 | {50,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
51 |  | 1.071 | 0.80321 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99368 | 0.99568 | 0.99372 | {51,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
52 |  | 2.3143 | 1.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99367 | 0.99568 | 0.99371 | {52,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
53 | N53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99354 | 0.99568 | 0.99367 | {53,'N53' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
54 |  | 2.0591 | 1.5443 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99353 | 0.99568 | 0.99365 | {54,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
55 |  | 2.5698 | 1.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99352 | 0.99568 | 0.99364 | {55,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
56 |  | 1.5334 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99365 | {56,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
57 |  | 1.0411 | 0.78079 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.99568 | 0.99366 | {57,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
58 | N58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99343 | 0.99568 | 0.99362 | {58,'N58' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
59 |  | 0.75183 | 0.56387 | 0 | 0 | 0 | 0 | 0.59893 | 0.4492 | 0.99343 | 0.99568 | 0.99362 | {59,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
60 |  | 19.3127 | 14.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99321 | 0.99568 | 0.99343 | {60,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
61 |  | 0.36667 | 0.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99342 | 0.99568 | 0.99361 | {61,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
62 |  | 1.2052 | 0.90388 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99341 | 0.99568 | 0.99361 | {62,'' , New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5),New Double(5)}
Please note that PV panels are installed at nodes 44,49,54,59
Please note that the length of data 79200 . The length of sheets 1 to 7 is 10000. The length of sheet 8 is 9200
PV homes are highlighted - all are only Phase A.
Columns 7 and 8 are the generation real power and generation reactive power - the trends we want to watch.